BDA Installation Standards

Non Brand Specific - Traced cooled or any form of block insulated T bar.

To ensure complete flexibility of all brand application, any form of secured direct contact encapsulation of product pipes is to be avoided.  As this inevitably only offers a brand owner a single choice of the built in restrictor pipe to connect to.

Currently brand owners enjoy a high degree of flexibility when using historical generic T bars, as they may use the pipe/tap provided, or change either to one of their choice as dictated by the brand & dispense method.

As a body the BDA cannot ignore a potential requirement by some retailers for traced cooled T bars.  This if left unregulated can lead to a one size pipe suits all philosophy, which can lead to dispense issues and unhappy customers/brand owners.

Therefore the BDA recommend that the design & construction of traced cooled T bars take into account a requirement to afford flexibility of restrictor pipe/ and tap employment, by introduction of carriers (ducting).

These carriers must be of a suitable bore size to allow easy on site movement between 3/16”OD and 5/16” OD restrictor piping.  This obviously will be supported by the ability to gain access to change tap types due to inlet bore size change.

If design and construction takes these recommendations into account, we believe we will all be able to deliver not only a useful piece of equipment, but something that can deliver trace cooling with all brand offers achieved.